## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moordale Court (Flat 20)
Fabian Road
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-38967
DATE OF REPORT: 10/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-38967
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Moordale Court (Flat 20)
Fabian Road
TS6 9RH
Carried Out On | 02/11/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Annual Routine Service Visit on MEV Units

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-38967
SECTION 3: Report
PS 02-11-23 Flat 20 MEV measurements: 22.4°C Bathroom 1: 1.02 m/s Bathroom 2: 2.68 m/s Bathroom 3: 3.30 m/s Bathroom 4: 4.14 m/s Kitchen 1: 1.09 m/s Kitchen 2: 2.17 m/s Kitchen 3: 3.05 m/s Kitchen 4: 4.19 m/s Kitchen and Bathroom vents cleaned.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-38967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-38967
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes