## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House (Flat 9)
Durham Road
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39039
DATE OF REPORT: 14/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39039
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House (Flat 9)
Durham Road
DH7 0LS
Carried Out On | 28/11/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Annual Routine Service Visit on MEV Units

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39039
SECTION 3: Report
Flat 9 Bathroom: 1.55 m/s En-Suite: 2.14 m/s Kitchen Low: 1.41 m/s Kitchen Med: 1.98 m/s Kitchen High: 2.12 m/s Cooker Low: 1.75 m/s Cooker Med: 2.42 m/s Cooker High: 2.75 m/s All Cleaned.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes