## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Lynwood House (Flat 32)
Durham Road
DH7 0LS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39062
DATE OF REPORT: 14/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39062
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Lynwood House (Flat 32)
Durham Road
DH7 0LS
Carried Out On | 27/11/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Annual Routine Service Visit on MEV Units

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39062
SECTION 3: Report
Flat 32 Bathroom: 1.37 m/s En-Suite: 1.46 m/s Kitchen Low: 1.85 m/s Kitchen Med: 2.04 m/s Kitchen High: 2.86 m/s Cooker Low: 2.16 m/s Cooker Med: 2.38 m/s Cooker High: 2.58 m/s All cleaned.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39062
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes