## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Diamond House (Flat 16)
High Street
NE28 7SJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39089
DATE OF REPORT: 15/03/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39089
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Diamond House (Flat 16)
High Street
NE28 7SJ
Carried Out On | 12/12/2023
Survey Completed By | Paul Sherwood
SECTION 2: Introduction
Annual Routine Service Visit on MEV Units

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39089
SECTION 3: Report
Flat 16 Extract Kitchen Low: 1.78 m/s Kitchen Med: 4.32 m/s Kitchen High: 7.89 m/s Extract Bathroom Low: 2.33 m/s Bathroom Med: 6.86 m/s Bathroom High: 9.80 m/s Supply Lounge Low: 2.89 m/s Bedroom 1 Med: 7.12 m/s Bedroom 2 High: 9.82 m/s All cleaned.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39089
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes