## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Weavers Court ( Flat 42 )
Swordy Drive
Alnwick
NE66 1SZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39124
DATE OF REPORT: 03/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39124
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Weavers Court ( Flat 42 )
Swordy Drive
Alnwick
NE66 1SZ
Carried Out On | 03/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Flat 42 no heating - no other issues with other flats in block underfloor heating so not sure if issue with flow into flat - reported by Liz onsite support

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39124
SECTION 3: Report
When I arrived on site flat 43 underfloor heating didn’t seem to be getting to temperature it was reading 30 degrees I tried pulling some water through the manifold but the water was Lukewarm went down to the plant room and the primary pump was in fault switched over to pump 1 and moved from auto to hand the boilers fired started to rise in pressure. Went back up to the room and the manifold was warmer went for lunch and then went back up and manifold was at 40 degrees and you could feel the heat in the floor left thermostats on to get to temperature.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39124
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes