## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Valley View
Leadgate
Consett
DH8 7PR
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39241
DATE OF REPORT: 07/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39241
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 Valley View
Leadgate
Consett
DH8 7PR
Carried Out On | 07/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Planned survey for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39241
SECTION 3: Report
Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date - landing dec 2033 Downstairs Smoke Alarm Location & Date - bottom of stairs dec 2033 Heat Alarm Location & Date - not fitted Co Alarm Location & Date - bedroom cupboard March 2033 Boiler to be removed -Vaillant Eco Tec pro 28 Boiler Serial number -210814308511 Job Type – Conversion / boiler replacement / full heating -boiler replacement Combi / heat only / system boiler -combi Boiler location - bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type ( Vertical / Horizontal ) - horizontal No of Flue Extensions - 0 No of Flue 45 -0 No of Flue 90's -0 Scaffolding required -no Flue guard needed -no Standoff kit required -no Gas meter internal / external – external ( requires bonding ) Condensate Requirements Is a Condensate pump required ( Yes / No ) -no Condensate current termination currently acceptable ( Yes / No ) - no If no what needs to be amended to bring it up to regs ? 32mm pipe upgrade externally Is the condensate currently through the wall in 19 or 32mm ? 19mm Number of radiators at the property - 7 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 10mm pipe onto 10mm valves Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower -no Any other means of heating -no Current Cooker Type – Electric / Gas electric Current Fire Type – Electric / Gas electric

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39241
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes