## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Nelson Street
Leadgate
Consett
DH8 7RW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39253
DATE OF REPORT: 08/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39253
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 2 Nelson Street
Leadgate
Consett
DH8 7RW
Carried Out On | 08/11/2023
Survey Completed By | James Jr
SECTION 2: Introduction
Planned electrics for boiler replacement

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39253
SECTION 3: Report
Combi:✅ Conversion: S/plan: Y/plan: Zoned: Earthing system: TT: ROD LOCATION: TN-S:✅ TN-C-S: Main Fuse:LIM 60A: 63A: 80A: 100A: Meter tail size: 16mm: 25mm:✅ Main earth size: 10mm: 16mm:✅ Gas bond: 10mm: Water bond: 10mm: Plastic: Consumer unit: MAKE:WYLEX MCB SIZE: 6A:✅ 10A: 16A: 32A: RCBO SIZE: 6A: 10A: 16A: 32A: RCBO TYPE: A: AC: EDITION: 15th: 16th:✅ 17th: 18th: SPD YES TYPE: NO:✅ LOCATION:Entryway CIRCUIT DESCRIPTION:Heating CIRCUIT NUMBER: 11 CS:1.5/1mm NUMBER OF WAYS DB: 12 RCD: 80A Type AC Ze: PFC: Zdb: .40 PFC: 0.609A PSCC: L-L: N-N: E-E: R1+R2: Zs: 30mA: RCD X 1: 30.2 RCD X 5: RCD TYPE: A RCD TYPE: AC✅ 100mA: Any issues with installation ie: FAULT CODES EQUIPMENT USED: WAS A RCBO USED: STAT: WIRED: RF: PROGRAMMER: CYL STAT: WIRING CENTRE: CROSS BONDED: X 5: X 6: BLANK PLATES: Single: Double: FUSED SPUR CONNECTION UNIT: BACK-BOX: WAGO’s: TRUNKING: CABLE 5 CORE: CABLE 3 CORE: 6mm EARTH: ANY OTHER CABLE USED:

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39253
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39253
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39253
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39253
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39253
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes