## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
42 Chester Road Estate
Stanley
County Durham
DH9 0QD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39316
DATE OF REPORT: 09/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39316
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 42 Chester Road Estate
Stanley
County Durham
DH9 0QD
Carried Out On | 09/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Radiator in hallway making really loud noise following on from boiler conversion

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39316
SECTION 3: Report
Radiator was full of air bled and tested working ok also turned stop tap down as the customer complained of to much pressure.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39316
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39316
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39316
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39316
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39316
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes