## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
6 Elm Street
Leadgate
Consett
DH8 7QJ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39331
DATE OF REPORT: 09/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39331
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 6 Elm Street
Leadgate
Consett
DH8 7QJ
Carried Out On | 09/11/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Planned survey for boiler install

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39331
SECTION 3: Report
Images Required ( All images are Mandatory ) Boiler image showing the whole installation inc pipework - Flue route within loft space or boxing - Flue termination inc roof if vertical - Condensate Termination - Prv Termination - Radiators within the property inc valves - Fuse Board - Gas Meter - Stop Tap - Boiler & Alarms Section Upstairs Smoke Alarm Location & Date -lan1233 Downstairs Smoke Alarm Location & Date -hall0531 Heat Alarm Location & Date - Co Alarm Location & Date -bedroom cupboard 1133 Boiler to be removed -Vailiant ecotec pro Boiler Serial number - Job Type – Conversion / boiler replacement / full heating - boiler replacement Combi / heat only / system boiler -combi Boiler location -bedroom cupboard Is 22mm gas pipe visible at boiler -yes Flue type ( Vertical / Horizontal ) - horizontal No of Flue Extensions - 0 No of Flue 45 -0 No of Flue 90's -0 Scaffolding required -no Flue guard needed -no Standoff kit required -no Gas meter internal / external –internal Condensate Requirements Is a Condensate pump required ( Yes / No ) -no Condensate current termination currently acceptable ( Yes / No ) -no If no what needs to be amended to bring it up to regs need to be 32mm through wall Is the condensate currently through the wall in 19 or 32mm 19 Number of radiators at the property -5 Current radiator valve size and type i.e 15mm valve incorporating stem elbow to 10mm pipework - 15-10mm pipework Size of pipework at radiators -10mm Number of bathrooms -1 Electric shower - electric Any other means of heating -electric fire Current Cooker Type – Electric / Gas Gas Current Fire Type – Electric / Gas electric fire

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39331
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes