## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place ( Communal )
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-39344
DATE OF REPORT: 09/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39344
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Brownsea Place ( Communal )
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 09/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
reported by andy scheme officer ---- all the water in the whole scheme is luke warm job number 20535932 brown sea place communal boiler 07767 116964 1963 code access Standard Callout for Commerical Boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39344
SECTION 3: Report
Tested the water outlets In a few different areas communal kitchen was 46 degrees but fitted with a tmv laundry was 37 fitted with tmv then tested flat 10 and had 43 at the kitchen sink but 50 in the bathroom calorifier tank was sitting at 60 degrees and return pump was running ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39344
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes