## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Burn Promenade ( Flat 9 )
Burn Park Road
Houghton Le Spring
DH4 5EJ
CARRIED OUT ON BEHALF OF
Castles & Coasts Housing Association
REPORT NUMBER: 23-39406
DATE OF REPORT: 10/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39406
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Castles & Coasts Housing Association
Address | Arcadia House
Balliol Business Park
Newcastle Upon Tyne
NE12 8EW
Site Address | Burn Promenade ( Flat 9 )
Burn Park Road
Houghton Le Spring
DH4 5EJ
Carried Out On | 10/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Commercial Boiler still causing issues with flat 9 and heating too hot and had to turn heating off. Tenant has medical - heart and lung desise so please attend ASAP as ongoing issues Tel 07818054942 Standard Callout for Commerical Boilers

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39406
SECTION 3: Report
Danfoss actuator head was sticking replaced with new and tested extensively to make sure it was working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39406
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes