## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Aged Miners Homes
Dairy Lane
Houghton Le Spring
DH4 5DE
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-39440
DATE OF REPORT: 11/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39440
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 7 Aged Miners Homes
Dairy Lane
Houghton Le Spring
DH4 5DE
Carried Out On | 11/11/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No Heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39440
SECTION 3: Report
PN 11/11/23 Low pressure topped up heating and hot water working Visible leak from magnaclean filter Tightened up still weeping could do with a new seal fitted

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39440
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes