## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Consett Medical Centre
Station Yard
Consett
DH8 5YA
CARRIED OUT ON BEHALF OF
Consett Medical Centre
REPORT NUMBER: 23-39489
DATE OF REPORT: 14/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39489
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Consett Medical Centre
Address | Consett Medical Centre
Station Yard
Consett
DH8 5YA
Site Address | Consett Medical Centre
Station Yard
Consett
DH8 5YA
Carried Out On | 14/11/2023, 16/11/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Issues with X2 toilets and sink

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39489
SECTION 3: Report
PN 14/11/23 Ladies toilet Replaced flush cone as was dripping when flushed Replaced 2x isolation valves to toilets as were dripping water Non concussive tap to be replaced ordered from wolsely Will be in 16/11/23 Staff toilet Replace flush valve Consultation room Replaced taps

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39489
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39489
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39489
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39489
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39489
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes