## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39513
DATE OF REPORT: 15/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39513
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Brownsea Place
Sheriff Hill
Gateshead
NE9 5PZ
Carried Out On | 14/11/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39513
SECTION 3: Report
2 x potterton paramount four 95 boilers 1= operational 2= operational 1 x senertec CHP = in fault 1 x wilo CWS booster set = operational 1 x acv smart calorifier = operational 1 x buffer vessel = operational 2 x actuators 1= operational 2= operational 2 x mixing valves 1= operational 2= operational 1 x gas interlock = operational Flue condition = good No leaks evident Lagging = good Sensors = operational 1 x flamco pressurisation unit = operational North zone VT pump grundfos magna 50-120 = operational 1.2 amps South zone VT pump grundfos magna 40-120 = operational 0.9 amps Primary pump grundfos magna1 32-60 = operational 0.8 amps Secondary return pump grundfos UPS 40-50 = operational 0.5 amps LTHW expansion vessel = operational charged to 1.5 bar

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39513
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes