## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Tamar Close
North Shields
Tyne and Wear
NE29 8QR
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-39519
DATE OF REPORT: 29/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39519
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Tamar Close
North Shields
Tyne and Wear
NE29 8QR
Carried Out On | 20/11/2023, 30/01/2024
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39519
SECTION 3: Report
Ct 20/11 3x hamworthy f125v boilers 1= operational 2= operational 3= operational 2x hamworthy powerstock calorifier 1=operational 2=operational 1x hamworthy pressuration unit operational 1x heating expansion vessel set at 1.6bar 2x DHW expansion vessels 1= 3.5bar 2= 3.5bar 8x prv all operational Flue not leaking at present but signs of leaks and crust on 6x joints 1x interlock operational 2x 3 port valve Schneider 1= operation 2x operational 2x vt valves 1= manual as BMS has closed but tenants complained no heat 2=operational 1x Dhw secondary pump groundfoss magna 3 25-60 Operational amps 0.2 2x primary pumps groundfoss magna 3 40-120 1= operational amps 0.24 2= operational amps 0.28 Zone 1 2x groundfoss magna 3 32-120f 1=operational amps 0.19 2= operational amps 0.21 Zone 2 2x groundfoss magna 3 32-100 1=operational amps 0.08 2= operational amps 0.10 Gauges and sensors operational Valves operational Lagging good condition Water test awaiting results Heating water test awaiting results 2x Dhw de Stract pumps biral ag ch 3110 1=operational Amos 0.20 2= operational amps 0.3 FoW awaiting results from water test

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39519
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes