## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Donnini House
Comet Hill
Easington
SR8 3ER
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-39520
DATE OF REPORT: 15/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39520
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Donnini House
Comet Hill
Easington
SR8 3ER
Carried Out On | 24/11/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39520
SECTION 3: Report
Ct 24/11 2x ideal viceroy Gt 1= isolated 2= operational 2x lochinvoir eco shield 1= operational 2= operational 1x boss pressuration unit operational 1x interlock operational 2x heating expansion vessels 1= 1.6 2= recharged to 1.6 2xDhw expansion vessel cal 1= 3.5 cal 2= 3.5 Shunt pumps 2x groundfoss 1= operational amps 2.4 2= operational amps 3 Complex heating pumps 2x groundfoss 1=operational amps 4.4 2= operational amps 5 District heating pumps 2x groundfoss 1= operational amps 1.2 2= operational 1.4 Valves operational Gauges and sensors operational Lagging missing on calorifiers 4x 2 mm 42 silver foam lagging 1x28mm silver foam lagging required to fix Flue good

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes