## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Park Avenue
Park Avenue Close
Crook
DL15 9JR
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-39522
DATE OF REPORT: 19/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39522
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Park Avenue
Park Avenue Close
Crook
DL15 9JR
Carried Out On | 20/12/2023
Survey Completed By | Graham Parker
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39522
SECTION 3: Report
3 x Remeha Quinta pro 90 boilers. 1= operational 2= operational 3= was in e14 fault now OPERATIONAL had to reset parameters 1 x CHP unit = operational,requires new condensate hose 1 x CHP buffer vessel = operational 2 x calorifiers. 1= operational 2= operational 1 x LTHW expansion vessel = operational charged to 1.5 bar. Requires drain cock fitting as drained from filling loop connection 2 x DHWS expansion vessels 1= operational charged to 3.5 bar 2= operational charged to 3.5 bar PRV,S= operational Gauges = operational Lagging = good Flue starting to show signs of distress on fittings but no leaks BMS = operational 1 x interlock = operational 2 x actuators = operational 2 x mixing valves = operational 1 x system filter = operational but recommend new 5 micron filter replacement 1 x grundfos UPS 15-50 secondary return pump = operational 0.2 amps 2 x grundfos TPE3 50-200 primary pumps 1= operational 0.3 amps 2= operational 0.3 amps 2 x grundfos MAGNA 50-120 pumps 1= operational 1.2 amps 2= operational 1.2 amps Carried out laboratory water test = awaiting results

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39522
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes