## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Jubilee House
Charles Street
Seaham
SR7 7SG
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-39523
DATE OF REPORT: 18/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39523
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Jubilee House
Charles Street
Seaham
SR7 7SG
Carried Out On | 18/12/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39523
SECTION 3: Report
Ct 18/12 Outside plant room 2x boilers potterton Sirius two wh 60 4x prv operational 1x pressuration unit Lowara operational 1x shunt pump grundfos ups40-60/2f tripper reset on BMS board ol1 now operational amps 0.5 2x boiler pumps potterton upml 25-95 180 1= operational amps 0.4 2= operational amps 0.3 1x interlock operational 1x main heating pump grundfos ups 40-60/2f operational amps 0.42 picture of pump condition attached recommend replacing 1x small heating pump grundfos upso15-60 operational amps 0.1 Lagging ok valves and valves operational Boiler flue good 1x Siemens 3port valve operational First floor cylinder cupboard 1x lochinvar water heater operational 1x central heating expansion vessel at 1.5 bar 1x Dhw expansion vessel at 3.5 bar 2x prv operational 1x interlock operational 1x dhw return pump grundfos up20-15n 150 operational amps 0.3 Temperature gauge showing wrong temp on return pipework Lagging ok Flue ok Water sample awaiting results

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39523
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39523
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39523
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39523
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39523
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes