## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Patton House
Patton Walk
Wheatley Hill
DH6 3QX
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-39524
DATE OF REPORT: 21/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39524
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Patton House
Patton Walk
Wheatley Hill
DH6 3QX
Carried Out On | 21/12/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39524
SECTION 3: Report
Ct 21/12/23 Boiler room 2x ideal concord cxsi boilers 1= isolated 2= operational 1x ch expansion vessel set at 1.5 bar 1x mikrofill pressuration unit operational Shunt pumps 2 x Grundfoss upsd 50-120f 1= operational amps 2= operational amps Heating pumps 2 x Grundfos upsd 65-120f 1= operational amps 2.1 2= operational amps 1.8 Gauges and sensors operational Valves operational 3x prv operational 1x interlock operational Lagging good Cycilindee cupboard inside building 1x range unvented cyclinder operational 1x dhw secondary return pump operational amps 0.2 1x dhw expansion vessel charged at 3.5 bar 2x prv 1x hineywell zone valve operational Stats amd gauges operational Controls operational Lagging good

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39524
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes