## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Primrose Court
Hesleden
Hartlepool
TS27 4NX
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-39525
DATE OF REPORT: 02/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39525
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Primrose Court
Hesleden
Hartlepool
TS27 4NX
Carried Out On | 21/12/2023
Survey Completed By | Craig Towart
SECTION 2: Introduction
Carry out 6 Month Mechanical Checks

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39525
SECTION 3: Report
Ct 21/12 2x de Dietrich boilers 1= operational 2= failed reset and working now 2x lochinvar water heaters Shunt pumps 2x grundfos upsd 50-60/4f 1= operational amps 0.2 2= operational amps 0.4 2x district heating pumps Grundfoss upsd 80-120f 1= operational amps 0.8 2= operational amps 1.0 2x complex heating pumps DAB dph 120/280.50t 1= operational amps 1.2 2= operational amps 1.0 1x Dhw secondary return ups 25-55n 180 operational amps 0.4 6x prv 1x interlock operational 1x vt valve satchwell operation Sensors and gauges operational Valves operational 2x dhw expansion vessel 1= failed to re pressure after pumping all water out needs replaced 2= failed to re pressure after pumping water out needs replaced data badge added to report email Lagging good Flue good Water sample taking awaiting results

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39525
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes