## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Carville Grange ( Flat 17 )
Carville Road
Wallsend
NE28 6DX
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-39624
DATE OF REPORT: 15/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39624
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Carville Grange ( Flat 17 )
Carville Road
Wallsend
NE28 6DX
Carried Out On | 15/11/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
FALSE

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39624
SECTION 3: Report
PN 15/11/23 Noise seems to be travelling through pipes as can hear it in two flats Nosiest in flat 17 disappears if heating is turned on in flat 17 Isolated heating in flat 17 by lever valves so no flow into flat noise still there Goes away when valves open back up And heating is on Comes back if thermostat is turned off Left heating on and radiator on in bathroom as there is flow through the flat tenant says she can use the trv on radiator if she wants heating in lounge and bedroom

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39624
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39624
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39624
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39624
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39624
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes