## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
91 Newbridge Street
Newcastle upon Tyne,
Tyne and Wear
NE1 2SW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-39807
DATE OF REPORT: 18/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39807
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 91 Newbridge Street
Newcastle upon Tyne,
Tyne and Wear
NE1 2SW
Carried Out On | 18/11/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating On Top Floor

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39807
SECTION 3: Report
RB 18/11/23- upstairs flat rads not heating up. Took radiator covers off all rads and bled all head a lot of air in. Rads heating up before leaving site manager happy with work, tenant not present.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39807
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes