## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Auden House
St. Anns Court
York
YO10 5FD
CARRIED OUT ON BEHALF OF
54North Homes
REPORT NUMBER: 23-39950
DATE OF REPORT: 13/06/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-39950
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | 54North Homes
Address | Alpha Court
Monks Cross Drive
Huntington
York
YO32 9WN
Site Address | Auden House
St. Anns Court
York
YO10 5FD
Carried Out On | 23/11/2023, , 04/12/2023, 10/01/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Remove both faulty burners. Utilise 2 No. Broag Service Kits & Cleaning Tools to clean out Heat Exchanges. Replace 2 No. Burners with new, set up, test & return to service.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-39950
SECTION 3: Report
Got boilers operational but found boiler requires a gas valve boiler 1 requires front access plate for the heat exchanger and both boilers require condensate traps 10/01/24 GP Replaced front door of heat exchanger and gave heat exchanger a heavy duty clean

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-39950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-39950
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes