## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Aged Miners Homes
Stella
Blaydon
NE21 4NG
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-40006
DATE OF REPORT: 24/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40006
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 10 Aged Miners Homes
Stella
Blaydon
NE21 4NG
Carried Out On | 24/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
No heating or hot water, boiler 2022 so under warranty

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40006
SECTION 3: Report
When I arrived the tennant had the heating and working it sounds like there was an issue with the programer so I went over the thermostat settings and carried out checks on the boiler and all is working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40006
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes