## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Holborn House ( Flat 9 )
Commercial Road
South Shields
NE33 1EA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40060
DATE OF REPORT: 28/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40060
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Holborn House ( Flat 9 )
Commercial Road
South Shields
NE33 1EA
Carried Out On | 28/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
constant leak from heating pipe in living room cupboard. found it few days ago put bowl down it has filled up but she has a broken wrist and can't lift a large bowl to empty will need to use smaller bowl which will overflow

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40060
SECTION 3: Report
Boiler was leaking from a connection under the boiler seal had failed. Struggled to get the access panels open for the isolators eventually got in to isolate drained down system and replaced washer filled system and tested working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40060
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes