## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
32 Carlin Close
Bowburn
Durham
DH6 5FA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40063
DATE OF REPORT: 15/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40063
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 32 Carlin Close
Bowburn
Durham
DH6 5FA
Carried Out On | 14/12/2023, 15/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Please rectify gas pressure issues

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40063
SECTION 3: Report
Inlet pressure at the meter low got NGW out to increase the pressure up to 23 mb operating pressure at the boiler 16mb karbon wanted re pipe started re pipe at 1pm after going for material. Customer left the property at 3pm and didnt know when she was getting back. Need to go back in the morning to finish. Finished re pipe and tested pressure now 17.41 mb left working ok. Pictures sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40063
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40063
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40063
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40063
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40063
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes