## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Moordale Court ( Flat 25 )
Fabian Road
Middlesbrough
TS6 9RH
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40068
DATE OF REPORT: 28/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40068
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Moordale Court ( Flat 25 )
Fabian Road
Middlesbrough
TS6 9RH
Carried Out On | 28/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Radiators not heating and water not hot in bathroom - Tenant states this is an ongoing issue for a long time the radiators do not heat in the property and also the water is just luke warm in the bathroom. Looks like we have had a few abandon jobs for our plumbers so have popped this on with it being a communal boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40068
SECTION 3: Report
Radiators are getting to temperature as they should at 56 degrees however the flat is the end flat so it’s like walking into two different time zones when your in the flat it’s really warm the side of the radiator but the side of the external wall is freezing the door seals are passing so needs some other trades to maybe insulate and repair the door the living room would benefit from another radiator but the main issue is the building and I’d image there like that on all four corners. Pictures sent to email. Hot water increased by adjusting the TMV slightly hotter 46 degrees at the tap.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40068
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes