## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Haven House (Flats 1-22)
Leadgate
Consett
Dh8 7PS
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40108
DATE OF REPORT: 29/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40108
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Haven House (Flats 1-22)
Leadgate
Consett
Dh8 7PS
Carried Out On | 29/11/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Main problem in hallway between 17-22

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40108
SECTION 3: Report
PN 29/11/23 1 radiator turned off between flats 17-22 2 that needed bled Radiators in stairwell not heating up opened valves fully and checked for air in radiators still not working both radiators in stairwell All other radiator in building working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40108
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes