## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Cleveland Terrace
Stanley
County Durham
DH9 6QL
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40199
DATE OF REPORT: 07/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40199
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Cleveland Terrace
Stanley
County Durham
DH9 6QL
Carried Out On | 07/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Problem downstairs flat rads, not heating

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40199
SECTION 3: Report
PN 30/11/23 Spoke to tenant she’s at work Told her someone will ring her to arrange a time when she will be in JB 07/12/23 Very little heating in downstairs radiators no return temperature on boiler leg. Removed kitchen leg and flushed the system. Reinstated pipework and still no heat. Bled system return leg back from the boiler to get the heat through and unblocked leg return temperature now working opened up radiators and tested working now.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40199
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes