## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
St Cuthberts Close ( Communal Boiler )
Hexham
Northumberland
NE46 2HU
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40235
DATE OF REPORT: 30/11/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40235
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | St Cuthberts Close ( Communal Boiler )
Hexham
Northumberland
NE46 2HU
Carried Out On | 30/11/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
No heating in communal area - No heating/hot water in communal areas. Issues with communal boiler. Phoned in by scheme co-ordinater. Door access 2034 and Keysafe which is for cupboard where boiler is 3579

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40235
SECTION 3: Report
Engineer Initial - JB Date of attendance - 30/11/23 Works carried out - boiler locking out F29 fault traces fault to ignition electrodes new required Materials Merchant location used - Material Type and Quantity Used - Reference Number Used in branch - Van stock items Type of item - Quantity of item - FoW Follow on works required ( Y/N ) yes Materials required for FoW - ignition electrodes boiler gc number 47-044-73 Fabrics / Patching Required - no

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40235
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes