## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Cyril Street
Consett
DH8 5NR
CARRIED OUT ON BEHALF OF
Walton Property & Investments Ltd
REPORT NUMBER: 23-40270
DATE OF REPORT: 01/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40270
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Walton Property & Investments Ltd
Address | 12 Bainbridge Close
Consett
DH8 7EG
Site Address | 10 Cyril Street
Consett
DH8 5NR
Carried Out On | 01/12/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating and hot water please investigate

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40270
SECTION 3: Report
PN 1/12/23 Heating was on timer that is why it wasn’t coming on Put heating on pressure went to 3bar Checked expansion vessel for pressure held 1bar checked pipe into expansion for blockages very dirty water coming out Would suggest a power flush Set boiler temp to 60 degrees pressure stable at 2 bar when on Boiler very rusty inside Would suggest a power flush in the system Pics sent on email of inside of boiler

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40270
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes