## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
8 Seagent Place
The Woodlands
Consett
DH8 0TR
CARRIED OUT ON BEHALF OF
G Emerson
REPORT NUMBER: 23-40330
DATE OF REPORT: 11/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40330
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | G Emerson
Address | 8 Seagent Place
The Woodlands
Shotley Bridge
Consett
DH8 0TR
Site Address | 8 Seagent Place
The Woodlands
Consett
DH8 0TR
Carried Out On | 11/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
We have attended previously and there is a zone valve that is required, please can you attend to confirm that this is the case and if so can you go to the merchants to pick up what is required and if you can ring the office or accounts to confirm prices that would be great.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40330
SECTION 3: Report
Tested all components and checked wiring all working correctly. Found the fault with the upstairs zone valve body sticking open drained system and replaced zone valve completely. Contacted accounts with a price £85.72+ vat Filled system had a few issues getting rid of air but all ok now working as it should. The customer would like the downstairs thermostat changing in the new year they have a Honeywell cm907 currently it’s replacement is the Honeywell ST9400C £66.76+ vat and I’d also recommend replacing the fill up loop as it has a slight drip.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40330
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes