## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
26 Oakridge
Whickam
Newcastle-upon-Tyne
NE16 5YD
CARRIED OUT ON BEHALF OF
Brian Watson
REPORT NUMBER: 23-40361
DATE OF REPORT: 05/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40361
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Brian Watson
Address | 26 Oakridge
Whickham
NE16 5YD
Site Address | 26 Oakridge
Whickam
Newcastle-upon-Tyne
NE16 5YD
Carried Out On | 05/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Investigate fault for boiler and survey for temperary extension of the flue

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40361
SECTION 3: Report
Investigated fault and found it to be a faulty electrode gap to big also found that the boiler was spilling. Cleaned replaced seal and fitted new electrodes now working ok. Flue to extend outside I’d recommend hanging the flue up with some metal all round banding and then fitting flue clamps were possible I’d use three The length of flue required is 3 metres in length photos sent to admin also discussed with customer about the re siting of his boiler when the extension is complete. Boiler is a potterton titanium 28 GC number 47 393 40

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40361
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes