## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Temple Forge Mews
Consett
DH8 5RZ
CARRIED OUT ON BEHALF OF
Fortify Solutions
REPORT NUMBER: 23-40385
DATE OF REPORT: 01/02/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40385
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Fortify Solutions
Address | Fortify Solutions
Consett Business Park
Unit 79 View Point
Consett
DH8 6BN
Site Address | 7 Temple Forge Mews
Consett
DH8 5RZ
Carried Out On | 11/12/2023, 15/12/2023, 11/01/2024, , 22/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
Carry out gas saftey check and 4 burner gas hob is also required, please supply and install - please replace the CO alarm as we have had confirmation to do this

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40385
SECTION 3: Report
Fill up and heat test heating system, commission boiler and install gas hob. Please submit images of installed gas hob. Took measurements for the hob and ordered up from Wolseley Consett they said it might take a few days to come in. The Job is a recondition and CP12 as the system has been decommissioned so will take longer it also requires new smoke alarms and carbon monoxide alarms are we to fit these ? Please see photos sent to admin. Hob to collect from Consett Wolseley, Fill up and heat test system and carry out a CP12 full commission boiler and gas hob, images required of installed gas hob. Returned 11/01/24 Turned on water and filled system tested gas no gas credit told the decorator on site and he got one of the owners down to take some meter details down and he is going to call me if he can get it on today. Fitted hob so just the test to do when I return. Returned 22/01/24 Carried out Cp12 and commissioned system fitted new co alarm

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40385
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes