## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Stanley Court ( Flat 3 )
Stanley
Durham
DH9 6HD
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40482
DATE OF REPORT: 06/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40482
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | Stanley Court ( Flat 3 )
Stanley
Durham
DH9 6HD
Carried Out On | 06/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Pipes are banging when putting heating on

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40482
SECTION 3: Report
Traced fault to the zone valve body making a noise when it’s opened and shut 3/4 steel pipework. Zone valve is a electro controls ltd EZV-311 photos sent to admin. Valve is working ok though.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40482
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes