## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Eldon Court ( Flat 17 )
Clavering Street
Willington Quay
NE28 6SW
CARRIED OUT ON BEHALF OF
S4NT
REPORT NUMBER: 23-40520
DATE OF REPORT: 06/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40520
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | S4NT
Address | Quadrant The Silverlink North
Colbalt Business Park
North Tyneside
NE27 0BY
Site Address | Eldon Court ( Flat 17 )
Clavering Street
Willington Quay
NE28 6SW
Carried Out On | 06/12/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No hot water

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40520
SECTION 3: Report
PN 06/12/23 There was no answer at flat 17 Tenants said she was at work Checked flat 19 hot water working in kitchen Shower goes hot and cold told her that could be the cartridge in shower Flat 18 kitchen hot tap coming out cold Communal kitchen water hot communal toilets water hot Tenant in flat 19 had cartridge changed in basin tap on the 05/12/23

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40520
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes