## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
10 Ferndene, 19 Lyndhurst Road
Benton
Newcastle Upon Tyne
NE12 9NT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40560
DATE OF REPORT: 07/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40560
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 10 Ferndene, 19 Lyndhurst Road
Benton
Newcastle Upon Tyne
NE12 9NT
Carried Out On | 07/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Leak from boiler

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40560
SECTION 3: Report
Boiler is leaking from the cold water isolation valve so the valve will require replacing it’s also been leaking from the return washer so that needs to be replaced and finally the flow turbine has been leaking so I’d also recommend replacing that. Boiler GC number is 47-393-22 Parts required = cold water tappet Boiler gasket washer 22mm Flow turbine Pictures sent to admin.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40560
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes