## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
North Eastern Clarence street
Spennymoor
Durham
DL16 7TQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40648
DATE OF REPORT: 21/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40648
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | North Eastern Clarence street
Spennymoor
Durham
DL16 7TQ
Carried Out On | 10/12/2023
Survey Completed By | Jason White
SECTION 2: Introduction
No heating / hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40648
SECTION 3: Report
Jw 10-12-23 No heating or hot water x2 evomax2 Boilers need setting up Everything seems to has disconnected it’s self from the eph and everything else in plant room Followed mi to set up and boiler will not fire Follow on works required

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40648
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes