## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
The North Eastern
Clarence Street
Spennymoor
DL16 7TQ
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40707
DATE OF REPORT: 21/08/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40707
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | The North Eastern
Clarence Street
Spennymoor
DL16 7TQ
Carried Out On | 11/12/2023, , 13/05/2024
Survey Completed By | Graham Parker
SECTION 2: Introduction
Ideal evomax 2 boilers have lost parameters and require setting up.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40707
SECTION 3: Report
Found issue with software within both boilers as well as the solonoid valve been activated. Presume they have had a power surge. This has also created a bug within the software and requires a full factory reset of the master boiler. Managed to get 1 operating but this needs to be reconfigured again 13/05/24 GP Carried out a reboot of both boilers and set up as a master and slave system. Customer would prefer it set up as single boilers but this would be a quote job as will need control wiring alterations 1 x days labour

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40707
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes