## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
28 Whitburn Towers
Croftside Avenue
Whitburn
SR6 7BT
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40750
DATE OF REPORT: 13/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40750
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 28 Whitburn Towers
Croftside Avenue
Whitburn
SR6 7BT
Carried Out On | 13/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Underfloor heating need pipes adjusting. second pipe in from the left on top manifold is to short so not nipping with nut and olive. manifolds have been isolated to make safe.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40750
SECTION 3: Report
Disconnected pipework cleaned up fittings and reconnected pipework and tested working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40750
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes