## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
47 Mackintosh Court
Gilesgate
Durham
DH1 1PZ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-40897
DATE OF REPORT: 21/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40897
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 47 Mackintosh Court
Gilesgate
Durham
DH1 1PZ
Carried Out On | 21/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Please attend as soon as possible as none of the radiators are heating up and replace the radiator TRV and lock shield valves. also flush the system

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40897
SECTION 3: Report
Flushed through the system got a load of leak sealer out of it topped the system back up and got an f75 fault on the boiler replaced the switch with a new one I had on the van. Topped up the system and had to slowly pull the heat round to all radiators left all radiators heating up.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40897
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes