## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
12 Holmside Avenue
Lanchester
Durham
DH7 0NB
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-40928
DATE OF REPORT: 19/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-40928
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 12 Holmside Avenue
Lanchester
Durham
DH7 0NB
Carried Out On | 19/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
Investigate issues with boiler - installed by us in December 2022

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-40928
SECTION 3: Report
Tenants issues were that the boiler was constantly on. Thermostat was installed next to the front door so was constantly being cooled by the draft. Installed new wireless thermostat now working ok.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-40928
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40928
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40928
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40928
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-40928
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes