## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
15 Eshwood View
Ushaw Moor
Durham
DH7 7FD
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-41039
DATE OF REPORT: 02/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-41039
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 15 Eshwood View
Ushaw Moor
Durham
DH7 7FD
Carried Out On | 02/01/2024
Survey Completed By | John Bolton
SECTION 2: Introduction
please attend and flush system as plumber has reported blockage causing radiators to not heat up.

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-41039
SECTION 3: Report
Flushed the system and was unable to unblock pipework. Stripped out radiator and radiator cover traced fault to a blocked leg of 10mm grey hep pipework. Disconnected from manifold and put 3 bar of pressure through pipework unable to unblock. Re pipe required. Parts required. 10 metres of 10mm barrier pipe 4x 10mm inserts 25x 10mm clips Silver tape

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-41039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41039
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes