## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
4 aged miners homes
Stockton road
Seaham
SR7 0HZ
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-41073
DATE OF REPORT: 23/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-41073
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 4 aged miners homes
Stockton road
Seaham
SR7 0HZ
Carried Out On | 23/12/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Replace ntc sensor pick up from Andy diffely

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-41073
SECTION 3: Report
PN 23/12/23 Replaced ntc and flow turbine sensor boiler still calling for hot water Removed flow turbine looked like it was stuck open loosened spring so turbine would close Replaced turbine no more demand for hot water Heating and hot water now working

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-41073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41073
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes