## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
17 St John’s Court
Front Street
Sacristoun
DH7 6JA
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 23-41074
DATE OF REPORT: 23/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-41074
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 17 St John’s Court
Front Street
Sacristoun
DH7 6JA
Carried Out On | 23/12/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating to any tenants on second floor of building

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-41074
SECTION 3: Report
PN 23/12/23 checked flats 16-19 no heating to radiators as they all had there TRVs turned off as soon as I opened them radiators heated up Checked all radiators in flats kitchen bathroom and lounge No faults in plant room

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-41074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41074
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes