## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
18 St John’s Court
Sacristan
Co Durham
DH76JA
CARRIED OUT ON BEHALF OF
DAMHA
REPORT NUMBER: 23-41078
DATE OF REPORT: 24/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-41078
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | DAMHA
Address | Durham Aged Mineworkers Homes
P.O. Box 31, The Grove
168 Front Street
Chester Le Street
DH3 3YH
Site Address | 18 St John’s Court
Sacristan
Co Durham
DH76JA
Carried Out On | 24/12/2023
Survey Completed By | Paul Nichol
SECTION 2: Introduction
No heating in flat 18 and other flats located on the top floor

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-41078
SECTION 3: Report
PN 24/12/23 Flats 16 -17-18-19 all radiators in lounge area air locked Attached hose to both side of radiators pulled water through both sides to remove air all radiators red hot Checked pressurisation unit in plant room on 1.5 bar

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-41078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41078
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes