## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
2 Crookhall Road
Consett
County Durham
DH8 6NG
CARRIED OUT ON BEHALF OF
Jim Hastings Limited
REPORT NUMBER: 23-41088
DATE OF REPORT: 27/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-41088
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Jim Hastings Limited
Address | Seghill Industrial Estate
Seghill
Cramlington
Northumberland
NE23 7DR
Site Address | 2 Crookhall Road
Consett
County Durham
DH8 6NG
Carried Out On | 27/12/2023
Survey Completed By | John Bolton
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-41088
SECTION 3: Report
Boiler requires a new pcb it also has a few leaks on the boiler. Boiler GC number is 47-075-08 baxi 105e Requires new main pcb Diaphragm kit Drain off valve

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-41088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41088
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes