## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Consett AFC
Belle vue stadium
Delves lane
DH8 7BF
CARRIED OUT ON BEHALF OF
Consett AFC
REPORT NUMBER: 23-41116
DATE OF REPORT: 30/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-41116
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Consett AFC
Address | Belle Vue Stadium
Delves Lane
Consett
DH8 7BF
Site Address | Consett AFC
Belle vue stadium
Delves lane
DH8 7BF
Carried Out On | 30/12/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No cold water from booster set

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-41116
SECTION 3: Report
RB- 30/12/23 Looked at the booster set which had no lights on but display was showing 88 bar, after resetting booster set was starting back up. Pump possibly faulty and may need replaced.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-41116
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41116
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41116
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41116
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41116
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes