## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
Donnini House ( Flats 12 & 23 )
Comet Drive
Easington Colliery
SR8 3ER
CARRIED OUT ON BEHALF OF
Believe Housing
REPORT NUMBER: 23-41126
DATE OF REPORT: 30/12/2023
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 23-41126
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Believe Housing
Address | Coast House
Spectrum 4
Spectrum Business Park
Seaham
SR7 7TT
Site Address | Donnini House ( Flats 12 & 23 )
Comet Drive
Easington Colliery
SR8 3ER
Carried Out On | 30/12/2023
Survey Completed By | Rhys Brown
SECTION 2: Introduction
No Heating / Hw

## Report
ZENITH MECHANICAL SERVICES
Report Number | 23-41126
SECTION 3: Report
RB- 30/12/23 - when arriving at building checked communal heating and hot water which was fine. After further inspection in the flat (12) the spur for the heating had been knocked off in the cupboard, has now been turned on. Flat 23 had already resolved the issues by the time I arrived.

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 23-41126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 23-41126
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes