## Cover
ZENITH MECHANICAL SERVICES
Plumbing & Gas Services
82 Viewpoint Business Centre, Consett, County Durham, DH8 6BN
Contact Number: 01207 693 849
Email: admin@zenithmechanical.com
REPORT ON
7 Windsor Terrace
Leadgate
Consett
DH8 7QW
CARRIED OUT ON BEHALF OF
Karbon Homes
REPORT NUMBER: 24-41147
DATE OF REPORT: 02/01/2024
Registered in England Company No. 923602
Directors: Josh Hodgson and David Hunter |  | Gas Safe registration number: 527432

## Contents
ZENITH MECHANICAL SERVICES
Report Number | 24-41147
Contents of Report
Section 1 | Job information
Section 2 | Introduction
Section 3 | Report
Section 4 | Photographs
SECTION 1: Job Information
Client | Karbon Homes
Address | Number Five
Gosforth Park Avenue
Gosforth Business Park
Newcastle upon Tyne
NE12 8EG
Site Address | 7 Windsor Terrace
Leadgate
Consett
DH8 7QW
Carried Out On | 02/01/2024
Survey Completed By | Paul Nichol
SECTION 2: Introduction
Boiler leaking

## Report
ZENITH MECHANICAL SERVICES
Report Number | 24-41147
SECTION 3: Report
PN 02/04/24 Corrugated pipe inside of boiler not connected to trap properly Pushed pipe into trap properly Ran boiler for 10 minutes no visible leaks inside of boiler

## Photos
ZENITH MECHANICAL SERVICES
Report Number | 24-41147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes
ZENITH MECHANICAL SERVICES
Report Number | 24-41147
SECTION 4: Photos
Room / Area
Description
Notes
Room / Area
Description
Notes
Room / Area
Description
Notes